## Engineer's Estimate
ENGINEER'S ESTIMATE FOR BONDING PURPOSES
Unit Pricing Based on: December 2023 (LA ENR: 15,258)
201 Vallecitos De Oro, San Marcos, CA 92078 | PROJECT NAME: |  |  |  | ENGINEER'S NAME:
(760) 744-0460; www.vwd.org | DATE: |  |  |  | LICENSE NO.:
The following list shall be used to prepare an Engineer's Cost Estimates for determining bonds for Vallecitos Water District. All unit prices shall be those shown hereon unless the item is not listed. Revisions to the estimate are the responsibility of the Engineer of Work. A fifteen percent (15%) contingency is required on all Engineer's Cost Estimates. The Summary sheet at the end will automatically calculate bond amounts as quantities are entered. If you have any questions, please contact the Engineering Department at 760-744-0460. EXCEL VERSION CAN BE REQUESTED FROM ENGINEERING STAFF. | [6 empty] | Additional Bid Pricing (to delete later)
ITEM | STANDARD DRAWING | QUANTITY | UNIT |  | UNIT PRICE | AMOUNT | Capital | Capital | Creek Project
WATER
8" PVC water main | W-17 |  | LF | 145.3488 | 145.35 | 0 |  |  | 210
10" PVC water main | W-17 |  | LF | 150.0756 | 150.08 | 0
12" PVC water main | W-17 |  | LF | 189.0716 | 189.07 | 0 |  |  | 160
6" CML&C steel/DIP water main | W-17 |  | LF | 198.5252 | 198.53 | 0
8" CML&C steel/DIP water main | W-17 |  | LF | 388.7786 | 388.78 | 0
10" CML&C steel/DIP water main | W-17 |  | LF | 414.7759 | 414.78 | 0
12" CML&C/DIP steel water main | W-17 |  | LF | 497.4948 | 497.49 | 0
14" CML&C steel water main | W-17 |  | LF | 542.3993 | 542.4 | 0 |  |  | 1300
16" CML&C steel water main | W-17 |  | LF | 550.6712 | 550.67 | 0 |  |  | 470
18" CML&C steel water main | W-17 |  | LF | 561.3064 | 561.31 | 0
24" CML&C steel water main | W-17 |  | LF | 634.5717 | 634.57 | 0
30" CML&C steel water main | W-17 |  | LF | 710.2004 | 710.2 | 0
36" CML&C steel water main | W-17 |  | LF | 781.1022 | 781.1 | 0
6" gate valve | W-14, W-16 |  | EA | 3028.6914 | 3028.69 | 0
8" gate valve | W-14, W-16 |  | EA | 3663.2631 | 3663.26 | 0 |  |  | 3100
10" gate valve | W-14, W-16 |  | EA | 4372.2818 | 4372.28 | 0
12" gate valve | W-14, W-16 |  | EA | 5081.3005 | 5081.3 | 0 |  |  | 4300
14" butterfly valve |  |  | EA | 9276.3276 | 9276.33 | 0
16" butterfly valve |  |  | EA | 14204.0073 | 14204.01 | 0
24" butterfly valve |  |  | EA | 28360.7467 | 28360.75 | 0
Hot tap existing main & saddle |  |  | EA | 2138.873 | 2138.87 | 0
Adjust gate valve to grade | W-14, W-16 |  | EA | 590.8489 | 590.85 | 0
Fire hydrant assembly | W-4, W-5, W-18 |  | EA | 9837.634 | 9837.63 | 0
Relocate fire hydrant | W-4, W-5, W-18 |  | EA | 3846.4263 | 3846.43 | 0
Protection post |  |  | EA | 339.1473 | 339.15 | 0
1" water service | W-6, W-8 |  | EA | 6168.4624 | 6168.46 | 0
3/4" Iperl Water Meter | Material List |  | EA | 472.6791 | 472.68 | 0
1" Iperl Water Meter | Material List |  | EA | 709.0187 | 709.02 | 0
2" water service | W-7, W-8 |  | EA | 15297.0778 | 15297.08 | 0
1-1/2" Omni T2 Water Meter | Material List |  | EA | 1418.0373 | 1418.04 | 0
2" Omni T2 Water Meter | Material List |  | EA | 2658.82 | 2658.82 | 0
3" Omni T2 Water Meter | Material List |  | EA | 3545.0933 | 3545.09 | 0
4" Omni T2 Water Meter | Material List |  | EA | 4431.3667 | 4431.37 | 0
2" & smaller backflow device | W-19 |  | EA | 2164.8703 | 2164.87 | 0
Relocate water meter | W-6, W-7, W-8 |  | EA | 2127.056 | 2127.06 | 0 |  |  | 1600-6800
Adjust water meter to grade | W-6, W-7, W-8 |  | EA | 295.4244 | 295.42 | 0
1" water test station | W-21 |  | EA | 3328.8426 | 3328.84 | 0
1" air & vacuum valve | W-2 |  | EA | 6853.8471 | 6853.85 | 0 |  |  | 5800
2" air & vacuum valve | W-3 |  | EA | 10694.3649 | 10694.36 | 0 |  |  | 9300
4" air & vacuum valve | W-24, W-25 |  | EA | 17607.2969 | 17607.3 | 0 |  |  | 19300
Relocate air & vacuum valve | W-2, W-3, W-24, W-25 |  | EA | 2233.4088 | 2233.41 | 0
2" blow-off assembly | W-1 |  | EA | 10635.28 | 10635.28 | 0 |  |  | 9000
4" blow-off assembly | W-23 |  | EA | 21743.2392 | 21743.24 | 0 |  |  | 18400
6" blow-off assembly | W-23 |  | EA | 25004.725 | 25004.73 | 0
Relocate blow-off assembly | W-1, W-23 |  | EA | 2127.056 | 2127.06 | 0
6" detector check assembly | W-13 |  | EA | 16543.7689 | 16543.77 | 0
8" detector check assembly | W-13 |  | EA | 21270.56 | 21270.56 | 0
Cathodic test station |  |  | EA | 580.2136 | 580.21 | 0
Thrust block | W-15 |  | EA | 703.1102 | 703.11 | 0
Concrete anchor block | W-15 |  | EA | 815.3715 | 815.37 | 0
End cap | W-16 |  | EA | 362.7812 | 362.78 | 0
Perform pipe jacking |  |  | LF | 1087.162 | 1087.16 | 0
8" steel/DIP water main utility crossing | W-27 |  | EA | 23633.9556 | 23633.96 | 0
12" steel/DIP water main utility crossing | W-27, W-28 |  | EA | 26995.8858 | 26995.89 | 0
SEWER
4" sewer lateral | S-4, S-5 |  | EA | 5820.65 | 5820.65 | 0
6" sewer lateral | S-4, S-5 |  | EA | 5820.65 | 5820.65 | 0
8" PVC sewer main | S-12 |  | LF | 291.0325 | 291.03 | 0
10" PVC sewer main | S-12 |  | LF | 354.5093 | 354.51 | 0 | 275 | 462 | 180
12" PVC sewer main | S-12 |  | LF | 366.3263 | 366.33 | 0 |  |  | 100
15" PVC sewer main | S-12 |  | LF | 475.0425 | 475.04 | 0 | 300
18" PVC sewer main | S-12 |  | LF | 593.2123 | 593.21 | 0 | 175
Sewer manhole - 4' diameter | S-1 |  | EA | 16248.3445 | 16248.34 | 0 |  |  | 150 (@ 1,047 units)
Sewer drop manhole - 4' diameter | S-2, S-3 |  | EA | 19173.0465 | 19173.05 | 0 | 13500 | 14000
Sewer manhole - 5' diameter | S-1 |  | EA | 17725.4667 | 17725.47 | 0
Adjust manhole rim to grade | S-1 |  | EA | 1169.8808 | 1169.88 | 0 | 15000 |  | 28600
Sewer clean-out | S-7, S-8 |  | EA | 2186.1409 | 2186.14 | 0 |  |  | 17100
Remove existing sewer clean-out |  |  | EA | 651.1155 | 651.12 | 0
Sewer encasement | S-11 |  | LF | 51.9947 | 51.99 | 0
Concrete anchor |  |  | EA | 1500.7562 | 1500.76 | 0
Concrete protective slab |  |  | SF | 29.5424 | 29.54 | 0
Re-channel existing manhole | S-1 |  | EA | 5672.1493 | 5672.15 | 0
8" stub & plug |  |  | EA | 319.0584 | 319.06 | 0 | 4800
STREET IMPROVEMENTS
Sawcut Existing AC Paving | Refer to City Standards |  | LF | 3.2497 | 3.25 | 0
Roadway Excavation | Refer to City Standards |  | CY | 41.3594 | 41.36 | 0
Asphalt Concrete Paving | Refer to City Standards |  | TON | 157.1658 | 157.17 | 0
MISCELLANEOUS
Rock Excavation |  |  | LS | 1500 | 1500 | 0
Abandon Water Service |  |  | EA |  |  | 0
(Add Item) | [5 empty] | 0
(Add Item) | [5 empty] | 0
(Add Item) | [5 empty] | 0
(Add Item) | [5 empty] | 0
(Add Item) | [5 empty] | 0
(Add Item) | [5 empty] | 0
SUBTOTAL AND CONTINGENCY
Engineer's Estimate - Subtotal | [5 empty] | 0
Mobilization (3% of Engineer's Estimate) | [5 empty] | 0
Contingency (15% of Engineer's Estimate) | [5 empty] | 0
Engineer's Estimate - Total (Including Mobilization and Contingency) | [5 empty] | 0
BONDS
Faithful Performance Bond | [5 empty] | 0
Labor and Materials Bond | [5 empty] | 0
Guarantee & Warranty Bond | [5 empty] | 0

## Labor & Materials Record
LABOR & MATERIALS RECORD
PROJECT NAME: |  |  |  | ENGINEER'S NAME:
DATE: |  |  |  | LICENSE NO.:
ITEM | STANDARD DRAWING | QUANTITY | UNIT | UNIT PRICE | AMOUNT | Capital | Capital | Creek Project
WATER
8" PVC water main | W-17 | 0 | LF | 145.35 | 0 |  |  | 210
10" PVC water main | W-17 | 0 | LF | 150.08 | 0
12" PVC water main | W-17 | 0 | LF | 189.07 | 0 |  |  | 160
6" CML&C steel/DIP water main | W-17 | 0 | LF | 198.53 | 0
8" CML&C steel/DIP water main | W-17 | 0 | LF | 388.78 | 0
10" CML&C steel/DIP water main | W-17 | 0 | LF | 414.78 | 0
12" CML&C/DIP steel water main | W-17 | 0 | LF | 497.49 | 0
14" CML&C steel water main | W-17 | 0 | LF | 542.4 | 0 |  |  | 1300
16" CML&C steel water main | W-17 | 0 | LF | 550.67 | 0 |  |  | 470
18" CML&C steel water main | W-17 | 0 | LF | 561.31 | 0
24" CML&C steel water main | W-17 | 0 | LF | 634.57 | 0
30" CML&C steel water main | W-17 | 0 | LF | 710.2 | 0
36" CML&C steel water main | W-17 | 0 | LF | 781.1 | 0
6" gate valve | W-14, W-16 | 0 | EA | 3028.69 | 0
8" gate valve | W-14, W-16 | 0 | EA | 3663.26 | 0 |  |  | 3100
10" gate valve | W-14, W-16 | 0 | EA | 4372.28 | 0
12" gate valve | W-14, W-16 | 0 | EA | 5081.3 | 0 |  |  | 4300
14" butterfly valve | 0 | 0 | EA | 9276.33 | 0
16" butterfly valve | 0 | 0 | EA | 14204.01 | 0
24" butterfly valve | 0 | 0 | EA | 28360.75 | 0
Hot tap existing main & saddle | 0 | 0 | EA | 2138.87 | 0
Adjust gate valve to grade | W-14, W-16 | 0 | EA | 590.85 | 0
Fire hydrant assembly | W-4, W-5, W-18 | 0 | EA | 9837.63 | 0
Relocate fire hydrant | W-4, W-5, W-18 | 0 | EA | 3846.43 | 0
Protection post | 0 | 0 | EA | 339.15 | 0
1" water service | W-6, W-8 | 0 | EA | 6168.46 | 0
3/4" Iperl Water Meter | Material List | 0 | EA | 472.68 | 0
1" Iperl Water Meter | Material List | 0 | EA | 709.02 | 0
2" water service | W-7, W-8 | 0 | EA | 15297.08 | 0
1-1/2" Omni T2 Water Meter | Material List | 0 | EA | 1418.04 | 0
2" Omni T2 Water Meter | Material List | 0 | EA | 2658.82 | 0
3" Omni T2 Water Meter | Material List | 0 | EA | 3545.09 | 0
4" Omni T2 Water Meter | Material List | 0 | EA | 4431.37 | 0
2" & smaller backflow device | W-19 | 0 | EA | 2164.87 | 0
Relocate water meter | W-6, W-7, W-8 | 0 | EA | 2127.06 | 0 |  |  | 1600-6800
Adjust water meter to grade | W-6, W-7, W-8 | 0 | EA | 295.42 | 0
1" water test station | W-21 | 0 | EA | 3328.84 | 0
1" air & vacuum valve | W-2 | 0 | EA | 6853.85 | 0 |  |  | 5800
2" air & vacuum valve | W-3 | 0 | EA | 10694.36 | 0 |  |  | 9300
4" air & vacuum valve | W-24, W-25 | 0 | EA | 17607.3 | 0 |  |  | 19300
Relocate air & vacuum valve | W-2, W-3, W-24, W-25 | 0 | EA | 2233.41 | 0
2" blow-off assembly | W-1 | 0 | EA | 10635.28 | 0 |  |  | 9000
4" blow-off assembly | W-23 | 0 | EA | 21743.24 | 0 |  |  | 18400
6" blow-off assembly | W-23 | 0 | EA | 25004.73 | 0
Relocate blow-off assembly | W-1, W-23 | 0 | EA | 2127.06 | 0
6" detector check assembly | W-13 | 0 | EA | 16543.77 | 0
8" detector check assembly | W-13 | 0 | EA | 21270.56 | 0
Cathodic test station | 0 | 0 | EA | 580.21 | 0
Thrust block | W-15 | 0 | EA | 703.11 | 0
Concrete anchor block | W-15 | 0 | EA | 815.37 | 0
End cap | W-16 | 0 | EA | 362.78 | 0
Perform pipe jacking | 0 | 0 | LF | 1087.16 | 0
8" steel/DIP water main utility crossing | W-27 | 0 | EA | 23633.96 | 0
12" steel/DIP water main utility crossing | W-27, W-28 | 0 | EA | 26995.89 | 0
SEWER
4" sewer lateral | S-4, S-5 | 0 | EA | 5820.65 | 0
6" sewer lateral | S-4, S-5 | 0 | EA | 5820.65 | 0
8" PVC sewer main | S-12 | 0 | LF | 291.03 | 0
10" PVC sewer main | S-12 | 0 | LF | 354.51 | 0 | 275 | 462 | 180
12" PVC sewer main | S-12 | 0 | LF | 366.33 | 0 |  |  | 100
15" PVC sewer main | S-12 | 0 | LF | 475.04 | 0 | 300
18" PVC sewer main | S-12 | 0 | LF | 593.21 | 0 | 175
Sewer manhole - 4' diameter | S-1 | 0 | EA | 16248.34 | 0 |  |  | 150 (@ 1,047 units)
Sewer drop manhole - 4' diameter | S-2, S-3 | 0 | EA | 19173.05 | 0 | 13500 | 14000
Sewer manhole - 5' diameter | S-1 | 0 | EA | 17725.47 | 0
Adjust manhole rim to grade | S-1 | 0 | EA | 1169.88 | 0 | 15000 |  | 28600
Sewer clean-out | S-7, S-8 | 0 | EA | 2186.14 | 0 |  |  | 17100
Remove existing sewer clean-out |  | 0 | EA | 651.12 | 0
Sewer encasement | S-11 | 0 | LF | 51.99 | 0
Concrete anchor | 0 | 0 | EA | 1500.76 | 0
Concrete protective slab | 0 | 0 | SF | 29.54 | 0
Re-channel existing manhole | S-1 | 0 | EA | 5672.15 | 0
8" stub & plug | 0 | 0 | EA | 319.06 | 0 | 4800
Labor & Materials
Total |  |  |  |  | 0
Authorized Signature
Developer, Contractor, or Engineer of Work